ISA-95/B2MML Tutorial: Integration practice from use cases to xml messages
Jean Vieille
j.vieille@controlchaingroup.com
www.syntropicfactory.com
www.controlchaingroup.net
[Speaker Notes: Integration : Practice from use cases to xml messages This tutorial will first present successively: an example of a fictitious company making a product that blends different type of manufacturing processes (discrete, continuous and batch) that is used for illustrating the subsequent topics A methodology for specifying information flows the models from the recently updated ISA95 part 2 and 4. This models cover the resource representation (people, material, equipment and processing capabilities), the product/knowledge representation as sequential / hierarchical processes using the resources), the operations planning  and reporting. The structure of the XML messages based on B2MML After this extensive review and practical application of the ISA-95 standard, the participants will be prepared to address integration between different manufacturing applications (ERP, control systems, MES,  FCS, LIMS, CMMS…) in a consistent, efficient and documented manner.]

---
Introduction
This tutorial will first present successively:
  - A practical example of a fictitious industrial company to grasp basics of modeling patterns and interoperability realm of ISA-95 as well as B2MML messages content
  - A methodology for specifying information flows
  - The models from the recently updated ISA-95 part 2 and 4.
  - The standard information services defined in ISA-95 part 5
  - The structure of the XML messages based on B2MML

---
Introduction
Objective :
  - A quick overview of interoperability related ISA-95 parts
  - be prepared to address integration between different manufacturing applications (ERP, control systems, MES,  FCS, LIMS, CMMS…) in a consistent, efficient and documented manner.
Participants
  - Industrial IT managers
  - Project managers for integration
  - Functional analysts involved in cross systems (i.e.ERP, MES, SCADA) business processes

---
Agenda
- Example
- Methodology
- ISA95 part 2&4 models
- ISA-95 par 5
- B2MML

---
Objectives
This section exemplifies ISA-95 usage for
  - describing manufacturing facilities and operations
  - Exchanging related information
The different aspects of a fancy company and product serve as a basis for illustrating
  - Product industrialization
  - Involved facilities
  - Production planning
  - Production reporting
It makes use of simplified ISA95 UML models and B2MML textual representation

---
Agenda
Example
  - Product structure and Manufacturing strategy
  - Resources & Capability
  - Operations Schedule
  - Operations Performance
- Methodology
- ISA95 part 2&4 models
- ISA-95 par 5
- B2MML

---
Products and Production organisation
Understanding of product structure
  - Manufacturing stages
  - Their relationships
Outline the manufacturing strategy
  - In-house manufacturing, mono/multi process cells- Sites
  - Synchronized contract manufacturing
  - Purchasing
Introduce Production definition, product segment

---
Product
- SuperToner – The world’s first wireless Internet enabled laser printer cartridges
- Products are available for a selection of printers HP, Epson, Brother and Canon
- Manufactured in 3 plants located in USA
- The process includes the following stages:
  - Plastic molding
  - Electronic board assembly for wireless connexion
  - Printing ink manufacturing
  - Assembly, filling and test
  - Customizable packaging

---
Bill Of Material - Top Level Items
Printer
Cartridge
Wireless
Ethernet
Sensor
& Module
Ink
Refill
Customized
Returnable
Shipping Box

---
General product manufacturing structure
Cartridge top level product segments
Plastic enclosure manufacturing
Electronic board manufacturing
Assembly
Ink manufacturing
Other parts
Manufactured
Purchased

---
Manufactured items
Enclosure Product Segments
Body Molding
Plastic
making
Finishing
Pre-assembling
Cover Molding
Ink Product Segments
Reaction
Sieving
Refining
Conditionning
Electronic Board Product Segments
Engraving
drilling
Mounting
Testing

---
Assembly
Assembly Product Segments
Print Test
Assembling
Filling
Wireless test
Packaging

---
Product segment structure
Cartridge
S1	Enclosure
S2	Ink
S3	Electronic board
S4	Assembly
S1 Enclosure
S1.1	Plastic making
S1.2	Body molding
S1.3	Cover molding
S1.4	Finishing – Pre-assembling
S2 Ink
S2.1	Reaction
S2.2	Sieving
S2.3	Refining
S2.4	Conditionning
S4 Assembly
S4.1	Assembling
S4.2	Filling
S4.3	Print test
S4.4	Wireless test
S4.5	Packing
S3 Electronic board
S3.1	Engraving
S3.2	Drilling
S3.3	Mounting
S3.4	Testing

---
Product Families and variants
Families (one dimension)
F1	Separable drum
F2	Embedded drum
Variants (multidimensional)
V1	1	Canon Packing
	2	HP Packing
	3	Epson Packing
V2	1	TN6600 OEM model
	2	HX2200 OEM model

---
Simple manufacturing model
Super Toner
Plastic molding
production line
Suppliers
Customers
Electronic board assembly
Production line
Ink manufacturing
Process cell
Assembly & Test
Production Line

---
Cooperative manufacturing model
SuperToner
Cartridge Manufacturer
Suppliers
Customers
Plastic molding & Assembly Plant
Company B
Electronic sub-contractor
Suppliers
Company C
Ink sub-contractor
Suppliers

---
Product segment allocation
SuperToner
Company C
S2: Make Ink
S2.1	Reaction
S2.2	Sieving
S2.3	Refining
S2.4	Conditionning
S1: Make Enclosure
S1.1	Plastic making
S1.2	Body molding
S1.3	Cover molding
S1.4	Finishing – Pre-assembling
Company B
S4: Make Assembly
S4.1	Assembling
S4.2	Filling
S4.3	Print test
S4.4	Wireless test
S4.5	Packing
S3: Make Electronic board
S3.1	Engraving
S3.2	Drilling
S3.3	Mounting
S3.4	Testing

---
Operations definition model
Operations Definition
Has
associated
May be
made up of
1..n
Operations
Segment
0..n
Segment dependency
0..n
0..n
0..n
0..n
Parameter
Equipment
Specification
Personnel
Specification
Material
Specification
Must
correspond
to element in
Must
correspond
to element in
Must
correspond
to element in
Equipment
Model
Personnel
Model
Material
Model

---
B2MML: Product Information – 1st level product segments
<OperationsDefinitionInformation>
  <ID> F2 </ID>
  <Description> Embedded drum toner cartridges
  <HierarchyScope>
  <OperationsType>Production
  <PublishedDate> ‏2012-‏12‏-08‏
  <OperationsDefinition>
    <ID> TN6600
    <Version> V0
    <Description> For Brother HL series
    <WorkDefinition> TN6600
    <OperationsSegment>
    <ID> S1
    <Description> Make Enclosure
    < OperationsSegment >
    <ID> S2
    <Description> Make Ink

---
B2MML : 2nd level product segments
< OperationsSegment >
  <ID> S1.2
  <Description> Body molding
  <Duration> 1 H
  <ProcessSegmentID> multi-mold workcell
  <ProcessSegmentID> Body+cover molding
  <SegmentDependency> Before S1.4
  <Parameter>
  <ID> MoldReference
  <Value> M6600
  <PersonnelSpecification>
    <PersonnelClassID> Molder
    <Description>
    <Quantity> 1
  <EquipmentSpecification>
  <MaterialSpecification>
    <MaterialClass> Polyethylen
    <MaterialDefinitionID> P22
    <Description> Rigid Polymer
    <MaterialUse> Consumed
    <Quantity> 234 G

---
Agenda
Example
  - Product structure and Manufacturing strategy
  - Resources & Capability
  - Operations Schedule
  - Operations Performance
- Methodology
- ISA95 part 2&4 models
- ISA-95 par 5
- B2MML

---
Resources
Identify the resources organisation:
  - Personnel
  - Equipments
  - Material & Energy
  - Process Segments

---
Available resources: Equipment
SuperToner
Equipment Manufacturer
Company B
Electronic
sub-contractor
Company C
Ink sub-contractor
Molding Line1
Molding Line2
Solid Ink Pcell
Liquid Ink Pcell
Molding Machine 1
Molding Machine 4
Engraving Unit
Reactor Unit
Blending Unit
Molding Machine 2
Molding Machine 5
Drilling Machine
Sieving & refining Unit
Molding Machine 3
Mounting WkCell
Conditionning Line
Testing WkCell
Assembly Line
WkCell 1
WkCell 2
WkCell 1
WkCell 2
WkCell 3

---
Available resources (at SuperToner plant)
Material
Material Def.	Class	Lot	Qté
P22	Polyethylen	PY2702	125 kg
P56	Polyethylen	PY2906	54 kg
ECPH	Ink	E456	253 kg
WLS25	Electronic board	W1257	49
Kit345	Accessories	L35123	56
Personnel
Equipment
ID	Name	Classe	Lev.
P1	Albert	Molder	1
P2	Bob	Molder	1
P3	Chris	Molder	2
P4	David	Assembler
P5	Eric	Assembler
P6	Francis	Assembler
P7	Greg	Printing Tester
P8	John	Electronic Tester
ID	Equipt	Classe
E1	Machine1	Single molding
E2	Machine2	Single molding
E3	Machine3	Single molding
E4	Machine4	Double molding
E5	Machine5	Double molding
E6	WkCell1	Assembly station
E7	WkCell2	Assembly station
E8	WkCell3	Assembly station

---
Personnel model
0..n
Defined by
0..n
Has values for
Has properties
Of
0..n
0..n
Personnel Class Property
Person Property
Must map To
Personnel Class
Person

---
B2MML : Personnel
<PersonnelInformation>
  <Description> Personnel of SuperToner
  <PublishedDate> 2012-‏12‏-08‏
  <PersonnelClass>
    <ID>Molder
    <Description> Molder
    <PersonnelClassProperty>
      <ID> MolderQualif
      <Description> Molder Qualification test
      <Value> 1 or 2
      <QualificationTestSpecificationID> TestLevel
    <PersonID>
  <Person>
    <ID> P1
    <PersonName> Albert
    <PersonnelClassID> Molder
    <PersonProperty>
      <ID> MolderQualif
      <Value> 1
      <TestResult> Pass

---
Process Segment Concept
Personnel resources managed for production
Equipment resources managed for production
Material resources managed for production
Collections of resources, used together for production, at the granularity needed for business level scheduling and costing
People
Materials
Equipment
Segments

---
Available Resources : Process Segments
Id	Process / Segment	Personnel / Class	Equipment / Class	Material / Class	Parameters
Sa1	Body molding	1 molder / Duration=1H	Single mold mach. / Duration= 1H	Polyethylen / Q=?	MoldReference =M*
Sa2	Cover molding	1 molder / Duration= 1H	Single mold mach. / Duration= 1H	Q=?	MoldReference =M*
Sa3	Body + cover / molding	1 molder / Level=2 / Duration= 1H	Double mold mach. / Duration= 1H	Q=?	MoldReference =M*
Sa4	finishing + / pre-assembly	1 assembler / Duration= 30’	Assembly worlkstation / Duration= 30’	ECPH Q=1 / WLS25 Q=1 / Kit345 Q=1

---
Process Segment model
0..n
0..n
Process
Segment
0..n
May be
Made up of
Segment dependency
0..n
0..n
0..n
0..n
Parameter
Equipment
Specification
Personnel
Specification
Material
Specification
corresponds
to element in
corresponds
to element in
corresponds
to element in
Equipment
Model
Personnel
Model
Material
Model

---
B2MML : Process Segments
<ProcessSegmentInformation>
<ID>
<Description> Available processes definition
<HierarchyScope>
<EquipmentID> SuperToner / Site
<PublishedDate> 2012-‏12‏-08‏
<ProcessSegment>
  <ID> Sa1
  <Description> Body molding
  <Duration> 1 H
  <PersonnelSegmentSpecification>
    <PersonnelClassID> Molder
  <EquipmentSegmentSpecification>
    <EquipmentClassID> Single mold. Mach.
  <MaterialSegmentSpecification>
  <MaterialClassID> Polyethylen
  <Parameter>
  <ID> MoldReference
  <Value> M*
  <ProcessSegment>
<ProcessSegment>

---
Production Capability
- Resources are now identified
- We have to provide information about allocation and availability
  - Within a given timeframe
  - At a particular location
  - For a type of capability: committed, available, unattaignable
Caution :
  - The process segment capability overlaps the resource capability and those of other process segments
    - Risk of double use of the same resource

---
Production Capacity (cont’d)
Current Production Capacity
Unattainable Capacity
Available Capacity
Committed Capacity
Time
Current Capacity
Capacity
Production Capacity

---
Operations Capability Model
Operations
Capability
0..n
0..n
0..n
0..n
Process segment
Capability
Equipment
Capability
Personnel
Capability
Material
Capability
Must
correspond
to element in
Must
correspond
to element in
Must
correspond
to element in
Equipment
Model
Personnel
Model
Material
Model

---
B2MML: Operations Capability - Header
< OperationsCapability>
  <ID>
  <Description> Plant capability
  <HierarchyScope> SuperToner / Site
  <PublishedDate> 2012-12-08‏
  <CapabilityType> Committed
  <Reason> On request
  <EquipmentElementLevel> Site
  <StartTime> 2012-12-08
  <EndTime> 2002-12-24
  <PersonnelCapability>
    <PersonID>
  <EquipmentCapability>
    <EquipmentID>
  <MaterialCapability>
    <MaterialDefinitionID>
  <ProcessSegment>
    <ID>

---
B2MML: Production capability - Personnel
<PersonnelCapability>
  <PersonnelClassID> Molder
  <CapabilityType> (default)
  <Reason> (default)
  < HierarchyScope > (default)
  <EquipmentElementLevel> (default)
  <StartTime> 2012-‏12‏-08‏
  <EndTime> 2012-‏12‏-18‏
  <Quantity> 5
  <PersonnelCapabilityProperty>
    <ID> MolderQualif
    <Value> 1
    <Quantity> 2
  <PersonnelCapabilityProperty>
    <ID> MolderQualif
    <Value> 2
    <Quantity> 1
2+1 ≠ 5 ???

---
B2MML: Process segments capability
<ProcessSegmentCapability>
  <ID>
  <Description> Body molding
  <ProcessSegmentID> SA1
  <CapabilityType>
  <Reason>
  < HierarchyScope >
  <EquipmentElementLevel>
  <StartTime> 2012-‏12‏-08‏
  <EndTime> 2012-‏12‏-18‏
  <PersonnelCapability>
    <PersonnelClassID> Molder
    <Quantity> 1
    <PersonnelCapabilityProperty>
    <ID> MolderQualif
    <Value> 1
    <Quantity> 1
  <EquipmentCapability>
    …
  <MaterialCapability>
    …
  <ProcessSegmentCapability>
    …

---
Agenda
Example
  - Product structure and Manufacturing strategy
  - Resources & Capability
  - Operations Schedule
  - Operations Performance
- Methodology
- ISA95 part 2&4 models
- ISA-95 par 5
- B2MML

---
Operations schedule
The operations schedule relies on Operations and resources definitions
Operations schedule
Operations
Request
Operations
Request
Operations
Request
Operations
Request
Segment
Requirement
Segment
Requirement
Segment
Requirement
Segment
Requirement
Resources

---
Operations schedule – Corporate level
Operations schedule CARTRIDGES 2012-13-08
50 cartridges
TN6600
…
…
10 cartridges
HX2200
Segment
Requirement
Enclosures
Segment
Requirement
Ink
Segment
Requirement
Electronics
Segment
Requirement
Assembly
Resources = Plants, production lines

---
Operations schedule – Plant level
Operations schedule SuperToner PLANT
…
…
10 enclosures
HX2200
50 enclosures
TN6600
Segment
Requirement
Sa1
Body Molding
Segment
Requirement
Sa2
Cover Molding
Segment
Requirement
Sa3
Finishing Pre-assembly.
Resources: Personnel, Equipment, Material

---
Operations schedule
Operations
Schedule
Corresponds
to
Operations
Request
1..n
0..n
Corresponds
to
Segment
Requirement
Process or Operations
Segment
Requested
Segment
Response
0..n
0..n
0..n
0..n
Segment
Parameter
Equipment
Requirement
Personnel
Requirement
Material
Requirement
Operations Definition

---
B2MML : Operations schedule
<OperationsSchedule>
<ID> P020726
<Description> Updated schedule / urgent order
<HierarchyScope> SuperToner / Site
<PublishedDate> 2012-‏12‏-08‏
<StartTime> 2012-‏12‏-08‏
<EndTime> 2012-‏12‏-08‏
<OperationsRequest>
<ID > OF212
<SegmentRequirement>
  <ID> Sa1
  <Description> Body molding
  <Duration> 1 H
  <PersonnelSegmentSpecification>
    <PersonnelClassID> Molder
  <EquipmentSegmentSpecification>
    <EquipmentClassID> Single mold. Mach.
  <MaterialSegmentSpecification>
  <MaterialClassID> Polyethylen
  <MaterialDefinition> P22
  <SegmentParameter>
  <ID> MoldReference
  <Value> M6600

---
Agenda
Example
  - Product structure and Manufacturing strategy
  - Resources & Capability
  - Operations Schedule
  - Operations Performance
- Methodology
- ISA95 part 2&4 models
- ISA-95 par 5
- B2MML

---
Operations performance – Corporate level
Operations performance (production) CARTRIDGES 2012-12-08
4 cartridges
TN6600
…
…
2 cartridges
HX2200
Segment
actual
Enclosure
Segment
actual
Ink
Segment
actual
Electronics
Segment
actual
Assembly
Resources

---
Operations performance – Plant level
Operations performance (production) SuperToner PLANT
7 enclosures
TN6600
…
…
8 enclosures
HX2200
Segment
actual
Sa1
Body molding
Segment
actual
Sa2
Cover molding
Segment
actual
Sa3
Finishing – Pre-Assembly
Resources

---
Operations performance
Operations
Performance
Operations
Request
Operations
Response
0..n
Reports on
0..n
Segment
Response
Process Segment
Corresponds
to
0..n
0..n
0..n
0..n
Segment
Data
Equipment
Actual
Personnel
Actual
Material
Actual

---
B2MML : Production performance
<OperationsPerformance>
<ID> R020726
<Description> Daily production report
<HierarchyScope> SuperToner / Site
<PublishedDate> 2012-‏12‏-08‏
<OperationsScheduleID> P020726
<StartTime> 2012-‏12‏-08‏ T00:00:00Z
<EndTime> 2012-‏12‏-08‏ T24:60:60Z
<OperationsResponse>
<ID>
<OperationsRequestID> OF212
<SegmentResponse>
<PersonnelActual>
<PersonnelClassID> Molder
<PersonID> Alfred
<Description>
<Quantity> 30min
<EquipmentActual>
<MaterialActual>
<SegmentResponse>

---
Agenda
- Example
- Methodology
- ISA95 part 2&4 models
- ISA-95 par 5
- B2MML

---
Peer-to-peer vs Information service bus
Appli A
Appli G
Appli A
Appli G
Appli B
Appli H
Appli B
Appli H
Appli C
Appli I
Appli C
Appli I
Appli D
Appli J
Appli D
Appli J
Appli E
Appli K
Appli E
Appli K
MES / B2M standardized messages
Connect
Connect
Connect
Connect
Connect
Connect
Connect
Connect
Connect
Connect
.
.
.
.
.
[Speaker Notes: 5_14_ISA8895_Interoperability_B2O_Methodology 06/12/12]

---
Exemple
[Speaker Notes: 5_14_ISA8895_Interoperability_B2O_Methodology 06/12/12]

---
Case 1 : ERP and MES not ISA-95 aware
ERP
ERP B2MML
connector
MES B2MML
Connector
MES
Send
ERP message
Receive
ERP message
Receive
B2MML message
Transform to
B2MML message
Transform to
MES message
Send
MES Message
Receive
MES Message
Send
B2MML message
ERP
Mess.
B2MML
Mess.
MES
Mess.
[Speaker Notes: 5_14_ISA8895_Interoperability_B2O_Methodology 06/12/12]

---
Case 2 : ERP is ISA-95 aware
ERP
MES B2MML
Connector
MES
Send
B2MMLmessage
Receive
B2MML message
Transform to
MES message
Send
MES Message
Receive
MES Message
B2MML
Mess.
MES
Mess.
[Speaker Notes: 5_14_ISA8895_Interoperability_B2O_Methodology 06/12/12]

---
Case 3 : ERP and MES not ISA-95 aware
ERP
ERP B2MML
connector
MES
Send
ERP message
Receive
ERP message
Transform to
B2MML message
Send
B2MML message
Receive
B2MML Message
ERP
Mess.
B2MML
Mess.
[Speaker Notes: 5_14_ISA8895_Interoperability_B2O_Methodology 06/12/12]

---
Case 4 : ERP and MES not ISA-95 aware
ERP
ERP B2MML
connector
MES B2MML
Connector
MES
Send
ERP message
Receive
ERP message
Receive
B2MML message
Transform to
B2MML message
Transform to
MES message
Send
MES Message
Receive
MES Message
Send
B2MML message
ERP
Mess.
B2MML
Mess.
MES
Mess.
[Speaker Notes: 5_14_ISA8895_Interoperability_B2O_Methodology 06/12/12]

---
Case 4 : ERP and MES speak B2MML
ERP
MES
Send
B2MML message
Receive
B2MML message
Warning!
Custom Extensions
Supported Transactions
B2MML
Mess.
[Speaker Notes: 5_14_ISA8895_Interoperability_B2O_Methodology 06/12/12]

---
Case 4 : B2MML mapping
ERP
B2MML
Router/mapper
MES
Receive
B2MML message
Extension
mapping
Send
B2MML message
Receive
B2MML message
Send
B2MMLMessage
B2MML
Mess.
B2MML
Mess.
[Speaker Notes: 5_14_ISA8895_Interoperability_B2O_Methodology 06/12/12]

---
Example
SAP PP-PI
SAP WM
Central
ERP api
ERP connector
ProductionSchedule
ProductionPerformance
Production order status
Production order paramters
Production Response
Material Consummed
Material Produced
Enterprise bus
ISA-95
messages
MES connectors
Distributued
MES api
Any/Unknown MES / control systems
Production orders
Production order status
[Speaker Notes: 5_14_ISA8895_Interoperability_B2O_Methodology 06/12/12]

---
Methodology overview
Requirements
1 Business
Glossary
ISA-95 models
3 Business
process
2 IT Applications
Design
4 Transactions
& message
identification
5 Message
definitions (xsd)
Operations
Message
Instances (xml)

---
1. Business Glossary
Many « languages »
  - Each software solution has its own: « Batch » in ERP is « Lot » in MES, is SKU in warehouse system
  - People may use a terminology based on
    - A well established company wide glossary
    - the current software solution
    - An ancien sotware solution
    - An ancien plant owner
    - …
ISA-95 brings an addiitonal one!
  - Can be an advantage: neutral language beyond possible political and personnal conflicts
  - Can be problematic is the company has established its own terminology
[Speaker Notes: 5_14_ISA8895_Interoperability_B2O_Methodology 06/12/12]

---
1. Business Glossary: an opprotunity
- Designing interface is the right time to establish a common understanding on company’s meta-data
- ISA-95 is a semi-canonical standard
  - Imposes a given terminology for a limited set of terms
    - Standard structures and attributes: Production Request, Material Definition…
    - All other data have are custom extensions through properties or extension attributes
The « Glossary » shall be built / maintained
  - Defining an appropriate definition
  - Matching the different terms with ISA-95 standard and extensions
  - can be part of a semantic meta data registration process in the concept of a company-wide MDM effort
[Speaker Notes: 5_14_ISA8895_Interoperability_B2O_Methodology 06/12/12]

---
1. Business glossary example
Business Term	Description	Range - Codes
BatchManagedIndicator	Allow the theoretical use of the component in quantity	Yes/No
ContainerWeight	Define the theoretical weight value of a container
HasPotency	Titrisation	Yes/No
IsWeighed	The material has to be weighed	Yes/No
WeighingMode	List of authorized weighing methods	1. Net weighing 2. Double weighing 3. Forced input 4. Keyboard gross weighing 5. Lure gross weighing 6. Manual input 7. Authorization to mix different components 8. Counting weighing (capsule) 9. Pallet weighing 10.Laser weighing

---
2. IT applications
ID	Solution	Description
MES	FLEXNET	Inventory management
ERP	SAP	Production management
OPZ	Formula+	Formula optimizer

---
3. Business Processes
Describe Business process workflows
  - Identify use cases involving inter-system communications
  - Describe workflows, identifies communication instances
- BP example: Process Order Optimization
  - Use case:
    - optimize the formula before executing a production order, taking into account the characteristics of raw material to be used
  - Simplified :
    - We only consider the part where interoperability is involved
[Speaker Notes: 5_14_ISA8895_Interoperability_B2O_Methodology 06/12/12]

---
3. Business process
ERP
Create / Release
Production Requests
Manage
Material
MES
OPZ
Execute
Production Requests
Optimize
Production
Requests
[Speaker Notes: 5_14_ISA8895_Interoperability_B2O_Methodology 06/12/12]

---
4. Transactions & message identification
- For each communication link, identify transactions
- For each transaction,
  - Decide for a transaction model (Push, Pull, Publish)
  - identify the involved messages
For each message
  - Give et business relevant name and unique ID
  - IT application origin and destination
  - ISA-05 applicable model
  - ISA-95 part 5 verb (action to perform)
  - ISA-95 par 2/4 noun (the conveyed information)

---
4. Transactions & message identification
ERP
Create / Release
Production Requests
Manage
Material
MES
OPZ
T6
T3
T2
T1
T5
Execute
Production Requests
Optimize
Production
Requests
T4
Planned Production Requests
Executed Production Requests
Optimized Production Requests
Material properties
Optimized Production Requests
Material Properties
[Speaker Notes: 5_14_ISA8895_Interoperability_B2O_Methodology 06/12/12]

---
T1: Planned Production Requests ERP-> MES
PUSH
ERP
MES
M1.1: Send Planned Production Requests
PROCESS Operations Schedule
Note: no confirmation / acknowledgement
at the application level
[Speaker Notes: 5_14_ISA8895_Interoperability_B2O_Methodology 06/12/12]

---
T2: Executed Production Requests MES -> ERP
PUSH
MES
ERP
M2.1 Send Production Responses
PROCESS Operations Performance
Note: no confirmation / acknowledgement
at the application level
[Speaker Notes: 5_14_ISA8895_Interoperability_B2O_Methodology 06/12/12]

---
T3: Material properties ERP to MES
PULL
MES
ERP
M3.1 Query Material Properties
GET Material Lot
M3.2 Send Material Properties
SHOW Material Lot
[Speaker Notes: 5_14_ISA8895_Interoperability_B2O_Methodology 06/12/12]

---
T4: Material properties MES -> Optimizer
PUBLISH
MES
OPZ
M4.1 Send Material Properties
SYNC Material Lot
[Speaker Notes: 5_14_ISA8895_Interoperability_B2O_Methodology 06/12/12]

---
T5: Optimized Production Requests MES <-> Optimizer
PUSH
MES
OPZ
M5.1 Send Planned Production Requests
PROCESS Operations Schedule
M5.2 Send Optimized Production Requests
ACKNOWLEDGE Operations Schedule
[Speaker Notes: 5_14_ISA8895_Interoperability_B2O_Methodology 06/12/12]

---
T6: Optimized Production Requests MES -> ERP
PUSH
MES
ERP
M6.1 Send Optimized Production Requests
PROCESS Operations Schedule
[Speaker Notes: 5_14_ISA8895_Interoperability_B2O_Methodology 06/12/12]

---
Message summary
#	Transaction	Mode	Mess. / ID	Message name	ISA-95 / Modèle	Verb	Noun	Origin	Dest.
T1	Planned / Production / Requests	PUSH	M1.1	Send Planned Production Requests	Operations / Schedule	PROCESS	Operations / Schedule	ERP	MES
T2	Executed / Production / Requests	PUSH	M2.1	Send Production Responses	Operations / Performance	PROCESS	Operations / Performance	MES	ERP
T3	Material / Properties / (MES)	PULL	M3.1	Query Material Properties	Material	GET	Material lot	MES	ERP
			M.3.2	Send Material Properties	Material	SHOW	Material / Lot	ERP	MES
T4	Material / Properties / (OPZ)	PUBLISH	M.4.1	Send Material Properties	Mateiral	SYNC	Material Lot	MES	OPZ
T5	Optimized / Production / Requests	PUSH	M.5.1	Send Planned Production Requests	Operations / Schedule	PROCESS	Operations / Schedule	MES	OPZ
			M.5.2	Send Optimized Production Requests	Operations / Schedule	Acknowledge	Operations / Schedule	OPZ	MES
T6	Optimized / Production / Requests	PUSH	M.6.1	Send Optimized Production Requests	Operations / Schedule	PROCESS	Operations / Schedule	MES	ERP

---
5. Message definition
Messages data mapping
  - Business data correspond to ISA-95 data
    - Existing attributes in the model tree structure
    - Custom attributes extending the appropriate objetcts
  - AND applications data
  As a consequence, a message row relates
  - ISA-95 concept (ex : SegmentRequirement.ID)
  - Business data (ex : Process Order)
  - SAP data (ex : Y_MES_H PPPI_CONTROL_RECIPE )
  - MES data (ex : PO_ID)
Each message mapping is an independent sub-project
    - Interface projects can be split at will : per business process, per system..
Note : The presented example is not included in the conference material (customer information)

---
Agenda
- Example
- Methodology
- ISA95 part 2&4 models
- ISA-95 par 5
- B2MML

---
5. Categories of information / part 2
Enterprise Information
Plant Production Scheduling,
Operational Management, etc
Definition
Information
(What it takes
to make a
job)
Capability
Information
(What resources
are available)
Schedule
(What to make
and use)
Performance
(What was
made and used)
Manufacturing
Control Information
Area Supervision, Production, Scheduling,
Reliability, Assurance, etc
[Speaker Notes: 1_30_ISA8895_Overview_ISA95 06/12/12]

---
5. Categories of information / part 4
Manufacturing
Control Information
Definition
Information
(What it takes
to make a
job)
Capability
Information
(What resources
are available)
Schedule
(What to make
and use)
Performance
(What was
made and used)
[Speaker Notes: 1_30_ISA8895_Overview_ISA95 06/12/12]

---
Extended interoperability domains
[Speaker Notes: 1_30_ISA8895_Overview_ISA95 06/12/12]

---
ISA-95 part 2/4 models
Category	ISA-95.02	ISA-95.04
Resource	Personnel
	Role based equipment, / Physical asset, physical model,
	Material
		Resource relationship network
Poential Knowledge	Process segment
	Operations definition	Work definition
Operations / / Kinetic knowledge	Operations schedule	Work schedule
	Operations performance	Work performance
	Operations capability	Work capability
	Work Alert

---
Personnel (part 2)
Includes
  - persons and personnel classes (categories)
  - properties as Skills and capabilities of individuals (persons) and groups (classes)
  - Qualification Tests associated to properties
  - Results associated to property, individual and test
[Speaker Notes: 1_30_ISA8895_Overview_ISA95 06/12/12]

---
Personnel (part 2)
[Speaker Notes: 1_30_ISA8895_Overview_ISA95 06/12/12]

---
Equipment (part 2)
Split in 2 view points
  - Role based equipment (that participates in a segment activity as a functional entity)
  - Physical Asset (that identifies a given specific equipment regardless its current function / status)
Includes
  - equipment and equipment classes (type of equipment)
  - properties as characteristics / capabilities of equipment / equipment classes
  - Capability Tests associated to properties
  - Results associated to property, equipment and test
[Speaker Notes: 1_30_ISA8895_Overview_ISA95 06/12/12]

---
Role based equipment (part 2)
[Speaker Notes: 1_30_ISA8895_Overview_ISA95 06/12/12]

---
Physical asset (part 2)
[Speaker Notes: 1_30_ISA8895_Overview_ISA95 06/12/12]

---
Role based equipment / physical asset relationship (part 2)
[Speaker Notes: 1_30_ISA8895_Overview_ISA95 06/12/12]

---
Material model (part 2)
Includes
  - material definitions (article id) and material classes (categories of material)
  - Material Lots and Sublots with location information
  - Properties as characteristics of material definitions, classes, lots, sublots
  - Material Tests associated to properties
  - Results associated to property, material lot/sublot and test
[Speaker Notes: 1_30_ISA8895_Overview_ISA95 06/12/12]

---
Material model (part 2)
[Speaker Notes: 1_30_ISA8895_Overview_ISA95 06/12/12]

---
Process segment (part 2)
A process segment:
  - the process view for the business system to control material, labor, resource usage, cost, and quality in order to control the production
  - can be more or less detailed and self contained providing a “telescopic” view of manufacturing capabilities of a given facility
Also called:
  - Process stages, process operations, Unit operations, Assembly steps and assembly actions
- The model Defines Capability, Parameters & Resources used by the Segment (Personnel, Equipment & Materials)
- The Segment pattern appears in all subsequent models
[Speaker Notes: 1_30_ISA8895_Overview_ISA95 06/12/12]

---
Process segment (part 2)
Business view of production
Inventory tracked
for Active Ingredient
Inventory tracked
for Pills
Inventory tracked
for Pill Packs
Know throughput,
resources and time to
make Active Ingredient
Know throughput,
resources and time to
make Pills
Know throughput,
resources and time to
make Pill Packs
Pharmaceutical Manufacturing
(3 Segments)
Make
Active
Ingredient
Make
Pills
Package
Doses
Raw
Materials
Finished
Products
[Speaker Notes: 1_30_ISA8895_Overview_ISA95 06/12/12]

---
Process segment (part 2)
[Speaker Notes: 1_30_ISA8895_Overview_ISA95 06/12/12]

---
Resource relationship network (part 4)

---
Capability
Uniquely define the production capability for a specific element of the equipment model
  - Given for specific resources as well as segments
- Provide a description of - or other information about the production capability
- Provide current state of the capability (available, committed, or unattainable)
- Define a location for the capability
- Define the physical level of the capability (Enterprise, Site, Area, Process Cell…)
- Define a Start Time and End Time that defines the lifecycle time for the capability
- Document the publish date for when the capability was published or generated
[Speaker Notes: 1_30_ISA8895_Overview_ISA95 06/12/12]

---
Operations capability (part 2)
[Speaker Notes: 1_30_ISA8895_Overview_ISA95 06/12/12]

---
Process segment capability (part 2)

---
Work capability (part 4)

---
Work Master capability (part 4)

---
Definition
A definition specifies the resources required to perform a specified operation such as making a product, maintaining an equipment, teaching an operator, executing a quality analysis or moving materials.
  - Defines a sequence of “Operations segments”
It does not describes how to perform this work in detail, though this information can be handled as
  - general, site or master recipe (IEC 61512-1 and ANSI/ISA-S88.01-1995 definition),
  - standard operating procedure (SOP),
  - standard operating conditions (SOC),
  And attached to the Operations definition and its segments

---
Operations definition (part 2)
[Speaker Notes: 1_30_ISA8895_Overview_ISA95 06/12/12]

---
Work definition (part 4)

---
Schedule
- What to make and what to use
- Operations schedule information
  - Is a collection of Operations Requests
Operations request
  - information required to fulfill the scheduled operation.
    - a collection of Segment Requirements
  - May reference the associated operations instructions
A segment Requirement
  - Shall correspond to an existing operations or process segment
  - Defines specific Equipment, Personnel, Material requirements and Operations parameters
  - There may only be one production segment,
    - But at least one!
[Speaker Notes: 1_30_ISA8895_Overview_ISA95 06/12/12]

---
Operations schedule
(part 2)
[Speaker Notes: 1_30_ISA8895_Overview_ISA95 06/12/12]

---
Work Schedule
(part 4)

---
Performance
What was made and what was used - example
A Operations Performance
  - Is a collection of Operations Responses
A Operations Response
  - Is a collection of Segment Response
  - Corresponds to a specific Production Request
A segment Response
  - Correspond to a specific segment requirement
  - Reports What resources were actually used, consumed, produced and other production data
[Speaker Notes: 1_30_ISA8895_Overview_ISA95 06/12/12]

---
Operations performance
(part 2)
[Speaker Notes: 1_30_ISA8895_Overview_ISA95 06/12/12]

---
Work performance
(part 4)

---
Segments, Segments, Segments…
Process segment: manufacturing capability
  - Defines the manufacturing process available per segment
  - Gather the required resources to execute the defined operations segments
Operations/Work Segment: manufacturing requirements
  - Defines the specifications per operations segment
  - Details the required resources for this operations segment
Segment Requirement: run time requirements
  - Defines the specifics for an operations request
Segment Response
  - Reports the actual happening
[Speaker Notes: 1_30_ISA8895_Overview_ISA95 06/12/12]

---
Segments, Segments, Segments…
Operaitons / Work capability
Operations / Work definition
Operations / Work schedule
Operations / Work performance
Process segment
Parameter
Resource specification
Operations segment
Parameter
Resource specification
Segment requirement
Parameter
Resource requirement
Segment response
Parameter
Resource actual

---
Summary / part 2

---
Summary / part 4

---
AGENDA
- Example
- Methodology
- ISA95 part 2&4 models
- ISA-95 par 5
- B2MML
[Speaker Notes: 1_30_ISA8895_Overview_ISA95 06/12/12]

---
ISA95 part 5
The Open Application Group – OAG – publishes an extensive XML schema specification for exhanging information to/from/between business systems (ERP)
  - www.openapplications.org
  - It sometimes overlaps with ISA95
- Currently (04/2008) version 9.2, includes some ISA95 models
- OAGIS defines messages based on a VERB-NOUN combination to properly handle complete transactions
  - Allowing Push/Pull/Publish-Subscribe transactional modes
The ISA95 part 5 standard extend part 1/2 to specify applicable transactions/messages
  - It only use a subset of the OAGIS VBERBS
[Speaker Notes: 1_30_ISA8895_Overview_ISA95 06/12/12]

---
Messages et transactions
Message :
a structured information unit conveyed in a one-way transfer of data from one sending application to one or more receiving applications
Transaction :
a sequence of related messages that are exchanged among applications
[Speaker Notes: 1_30_ISA8895_Overview_ISA95 06/12/12]

---
Message Structure
Content of a message:
  - Application identification area
    - typically includes the electronic address of the sender, an indication of the confirmation requirement, and the date and time the message was created …
  - Data Area – VERB
    - defines the action to be performed, or the response to a request
  - Data Area – NOUN
    - represents one or more objects, as defined in the Part 1 and Part 2 object models
The above information defines a unique and unambiguous meaning of messages
Message
Application
Identification Area
Data Area
VERB
NOUN
[Speaker Notes: 1_30_ISA8895_Overview_ISA95 06/12/12]

---
Verb list
Verb	Description	Model
ACKNOWLEDGE	Acknowledgement of a PROCESS request.	PUSH
CANCEL	Request to a receiver to remove information.	PUSH
CHANGE	Request to a receiver to change information.	PUSH
CONFIRM	Confirmation response to a request.	PUSH, / PULL / PUBLISH
GET	Request to a receiver for information on one or more objects.	PULL
PROCESS	Request to a receiver to process new information.	PUSH
RESPOND	Response to a CHANGE message request.	PUSH
SHOW	Response to a GET message.	PULL
SYNC ADD	Request from the owner of the object to add information	PUBLISH
SYNC CHANGE	Request from the owner of the object to change information	PUBLISH
SYNC DELETE	Request from the owner of the object to delete information	PUBLISH

---
Noun list
Personnel Class / Person / Qualification Test Specification / Equipment Class / Equipment / Equipment Capability Test Specification / Physical Asset Class / Physical Asset / Physical Asset Capability Test Specification / Material Class / Material Definition / Material Lot / Material Sublot / Material Test Specification / Resource Relationship Network Connection Type / Resource Relationship Network Connection	Process Segment / Operations Capability / Work Capability / Operations Definition / Work Directive / Work Master / Workflow specification / Operations Schedule / Work Schedule / Job list / Operations Performance / Work Performance / Work Alert / Transaction Service Profile
[Speaker Notes: 1_30_ISA8895_Overview_ISA95 06/12/12]

---
Agenda
- Example
- Methodology
- ISA95 part 2&4 models
- ISA-95 par 5
- B2MML

---
Overview
The ISA95 object models may be used as the basis for formalized information exchange protocols
  - Such as SQL tables, XML internet files, or IDL object definitions
B2MML is originally an XML implementation of ISA95
  - Along with BatchML for ISA88
B2MML = ISA88+ISA95 data structures implementation
  - BatchML (ISA88 part 2) and new ISA88 models (Part 3 and 4) are now merged into B2MML
B2MML is developed by the WBF
  - WBF is an ISA sponsored/supported organization
  - B2MML is for “Business To Manufacturing Markup Language”
  - Has become the de facto implementation standard for business to manufacturing information exchange
B2MML benefit of a reactive development environment
  - About 1 version / year
[Speaker Notes: 1_30_ISA8895_Overview_ISA95 06/12/12]

---
Example: Personnel schema
[Speaker Notes: 1_30_ISA8895_Overview_ISA95 06/12/12]

---
Example: Personnel schema - Header

---
Extension mechanism

---
Example: Personnel schema – root element

---
Download the latests
This presentation (and many others)
  - http://www.syntropicfactory.com/node/3798
B2MML
  - http://wbforg.affiniscape.com/displaycommon.cfm?an=1&subarticlenbr=99
  - https://services.mesa.org/ResourceLibrary/ViewCategory/8c65bee5-db6d-48f8-a876-778f55ed1b69
ISA95 committee
  - http://www.isa.org/isa95

---
Thank You
j.vieille@controlchaingroup.com
www.syntropicfactory.com
www.controlchaingroup.net